PODIATRY XRAY SETTINGS* (AVERAGE)  LT Series
FOOT

AP/DP
Medial Oblique
Lateral Oblique
Lateral

65kv, 034 pulses
65kv, 036 pulses
65kv, 036 pulses
65kv, 040 pulses	
ANKLE

AP/DP
Medial Oblique
Lateral Oblique
Lateral

68kv, 044 pulses
65kv, 036 pulses
65kv, 036 pulses
65kv, 036 pulses	
KNEE**

AP
Oblique
Lateral

70kv, 048 pulses
65kv, 040 pulses
65kv, 040 pulses	
OTHER

Calcaneal Axial
Harris Beath
Sesamoids

65kv, 030 pulses
65kv, 044 pulses
65kv, 036 pulses	

SMALL (Child under 8): lower 4-8 pulses
LARGE: add 4-8 pulses
CAST: add 10 pulses
All views to be shot at 15ma setting. *This is only a reference. kv and pulses can be adjusted when necessary.
Calibration:
Luminance: 65kv, 036 pulses
Positional: 65kv, 032 pulses
© 20/20 Imaging LLC - All Rights Reserved. *This chart is only a guide. 20/20 Imaging is not responsible for under/over exposure , or improper patient exposure problems. Your result may vary. For assistance, please call support at 866-734-6534. **Knee views are not supported and may be taken at your own risk.